Incident	Summary	for	17/01/00	till	28/02/00
	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5377	18/01/2000 	White  discoloration of a stream, Pinehaven, 	Source traced to a painter who was painting a 	35
	09:58	Upper Hutt.	house in the area.  Painter had washed brushes 
	into the stream.  Painter asked to wash brushes 
	on the lawn or dispose of wash material into the 
	sewer  system.
	5273	18/01/2000 	Unpleasant odour, Lyall Bay, Wellington.	Under Investigation.  Complaint logged only.	1
	10:22
	5250	18/01/2000 	Washdown water and caustic soda possibly 	Under Investigation.  Further investigation 	1
	11:45	entering stormwater system.	required into drainage for the area.
	5272	18/01/2000 	Unpleasant odour, Lyall Bay, Wellington.	Under Investigation.  Complaint logged only.	1
	16:15
	5381	18/01/2000 	Fish carcasses dumped on the stockbank, 	Complaint referred to the Hutt City Council.	3
	16:32	Estuary mouth, Hutt River.
	5383	19/01/2000 	Smoke discharging from a nearby incineration 	Complaint referred to Consents Management.  	34
	09:56	plant, Miramar.	Smoke observed and incinerator confirmed as the
	source.  Smoke not considered to offensive or 
	objectionable.
	5251	19/01/2000 	Continuing discharge of silt into stream from 	Alleged discoloration of stream occurred prior 	1410
	13:30	quarry -  possible unconsented works.	to stream diversion works.  The stream diversion 
	has now been undertaken, part of required 
	remedial works.  No evidence of unconsented 
	works.
	5253	19/01/2000 	Offensive odour, Rangoon Heights, Wellington.	No odour detected during investigation.	5
	14:15

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5248	19/01/2000 	Odour from nearby food premise. Wellington 	Did not detect any objectionable or offensive 	27
	17:10	Central.	odour at the time of investigation.
	5388	20/01/2000 	Paint on the road, Davies Street, Tawa.	No risk of discharge into the stormwater system. 	5
	08:45	Complaint referred to Wellington City Council, 
	streetworks section ( this section is responsible 
	for road maintenance work).
	5255	23/01/2000 	Odour and blue smoke from incinerator at the 	No objectionable or offensive smoke or odour at 	35
	18:15	south-east corner of Evans Bay. Miramar, 	the time of investigation.
	Wellington.
	5258	26/01/2000 	Continuing discharge of silt into stream from 	Abatement notice issued.	59
	10:15	quarry.
	5274	26/01/2000 	Spraydrift affecting complainants property.  	No serious damage.  Educational information 	1
	14:00	Paraparaumu Beach. Kapiti Coast.	sent out to perpetrator.
	5268	27/01/2000 	Unpleasant plastic odour.  Lyall Bay,	Under Investigation.  Complaint logged only.	1
	10:05	Wellington.
	5266	27/01/2000 	Illegal sewage discharge from septic tank. 	Under Investigation.	25
	13:00	Horokiwi, Hutt Valley.
	5267	27/01/2000 	Dead goat in Ratanui Lakes. Otaihanga, 	Goat removed by Kapiti Coast District Council.	20
	14:00	Paraparaumu.
	5263	27/01/2000 	Sewage odour detected in the air, Mornington.	Complaint logged.  WRC did not receive the 	5490
	21:00	details till the following week.
	5261	27/01/2000 	Sewage Odour detected in the air, Mornington.	Under Investigation.  Under Investigation	40
	21:00
	5270	28/01/2000 	Unpleasant rubbish odour. Wellington Central.	Under Investigation.	465
	09:00

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5269	28/01/2000 	Unconsented works in the Catchpool Stream. 	Abatement notice issued.  Consent to be 	50
	09:45	Coast Road, Wainuiomata.	obtained before works are to continue.
	5271	28/01/2000 	Unpleasant odour, Lyall Bay, Wellington.	Under Investigation.  Complaint logged.	1
	09:58
	5354	29/01/2000 	Sewage type odour, Moa Point. Wellington.	Discernible treated sewage odour detected at 	52
	15:23	complainant's property.  Odour possibly from 
	sewage treatment plant, unable to gain access 
	to confirm source.
	5404	30/01/2000 	Temporary sewage discharge notification. 	Discharge due to very heavy rain.  Notification 	21
	09:59	Thorndon.	logged.
	5277	31/01/2000 	Litter in the harbour, Oriental Bay.	Chippie packets, ice cream wrappers and parking 	10
	11:50	tickets picked out of water.  Probably from street 
	rubbish bins.
	5316	31/01/2000 	Sewage odour noted in the air, Brooklyn.	Complaint received from the WCC.  Complaint 	36
	13:14	logged.
	5279	01/02/2000 	Diesel spilt from truck into road.	Approximately 2 -3 litres from broken fuel line in 	5
	08:00	kerb and channel.  Diesel mopped up before it 
	reached the stormwater sump.
	5295	01/02/2000 	Large dead rat on beach at Lyall Bay.	Rat (or cat?) removed to landfill.	33
	09:12
	5297	01/02/2000 	Cars have flecks of paint from nearby 	Under Investigation.	35
	12:50	spraypainters.
	5317	01/02/2000 	Greasetrap overflowing onto street.	Owner of Greasetrap to clean it out.  Wellington 	25
	13:30	Wellington Central.	City Council to pump out stormwater sump.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5282	01/02/2000 	Bad odour coming from the landfill, Happy 	Odour assessed as objectionable at the boundary 	124
	16:27	Valley, Wellington.	( landfill gates) of the landfill.
	5312	01/02/2000 	Stream very silty around the industrial area,  	Source of silt due to stream 	52
	16:33	Tawa.	maintenance/flood protection works being carried
	out upstream of where the complainant first 
	noted it.  Permitted activity under the WRC 
	Proposed Freshwater Plan.
	5284	01/02/2000 	Offensive odour coming from the landfill,	Odour assessed as objectionable at the 	41
	17:50	Happy Valley, Wellington.	boundary ( landfill gates) of the landfill.
	5280	01/02/2000 	Offensive landfill odour Happy Valley, 	Odour assessed as objectionable at the 	21
	18:10	Wellington.	boundary ( landfill gates) of the landfill
	5286	01/02/2000 	Offensive landfill  odour coming from the 	Odour assessed as objectionable at the 	-39
	19:10	Landfill in Happy Valley, Wellington.	boundary (landfill gates) of the landfill.
	5298	02/02/2000 	Odorous fumes from the neighbouring metal 	Under Investigation.	64
	10:51	foundry.
	5289	03/02/2000 	Strong odour, Strathmore Park, Wellington.	Unable to detect odour as described by 	16
	08:34	complainant during investigation.
	5310	03/02/2000 	Sewage odour coming from a nearby Sewage 	Under Investigation.  Complaint passed to 	30
	08:34	Treatment Plant, Strathmore, Wellington.	Consents Management to follow up on.
	5299	03/02/2000 	Chicken cooking odour in garden bar from 	Odour confirmed on property of neighbour.  Not 	23
	09:37	neighbour.	objectionable at time of investigation for a 
	commercial area.
	5302	03/02/2000 	Thick black smoke from nearby industry.	Complaint logged as smoke had stopped when 	1
	12:15	complaint made.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5300	03/02/2000 	Sewage odour in factory building. Ngauranga, 	Under Investigation.	31
	12:34	Wellington.
	5309	03/02/2000 	Green effluent discoloration noted in Blakeys 	Under Investigation     Discoloration traced to a	85
	16:20	stream.  Effluent was discharging out into the 	local Piggery in the area.  Effluent wetland 
	Mangaroa River.  Te Marua.	ditches were discharging at the time of 
	investigation.
	5304	04/02/2000 	Burning, rubbery, rancid odour.  Lyall Bay.	Under Investigation.  No odour detected at time	27
	11:00	of investigation.
	5291	04/02/2000 	Gravel being dumped into the foreshore/beach, 	Gravel disposed of into a parking area above 	206
	11:57	Island Bay.	MHWS.  Gravel only temporarily stored at the 
	site.  Transport operators to remove material that 
	day.
	5306	04/02/2000 	Black smoke from neighbouring timber 	Smoke had stopped by time of investigation.	120
	14:15	treatment plant.  Otaki.
	5307	05/02/2000 	Stream discoloration South Makara Road, 	Discoloration due to small accidental paint spill.	51
	14:29	Makara.	Person responsible assured the officer that it 
	would not happen again.
	5290	07/02/2000 	Sewage odour in factory building. Ngauranga, 	Odour appears to have come from sewer line. 	15
	08:55	Wellington.	Buchan traps being installed.
	5318	07/02/2000 	Odour inside building. Ngauranga, Wellington.	Odour appears to have come from sewer line. 	16
	12:23	Buchan traps being installed.
	5319	07/02/2000 	Truck decks placed across stream. Wainuiomata, 	The decks are a small bridge permitted under the 	35
	13:30	Lower Hutt.	Freshwater Plan.
	5320	07/02/2000 	Dust covering boat from nearby dredging 	Most of dust is probably from natural sources, 	2937
	14:43	operation. Seaview, Lower Hutt.	and therefore no further action is necessary.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5321	08/02/2000 	Paint from boat discharged into Wellington 	Slick cleaned up by person responsible.	35
	09:00	Harbour. Wellington Central.
	5322	08/02/2000 	Hot metallic odour. Lyall Bay, Wellington.	No odour present at the time of investigation.	21
	10:25
	5323	08/02/2000 	Burnt metal odour. Lyall Bay, Wellington.	No odour at the time of investigation.	18
	10:28
	5325	08/02/2000 	Offensive odour, Burma Road, Khandallah.	Complaint logged, but not investigated.	10
	11:45
	5324	08/02/2000 	Offensive odour, Rangoon Heights, Wellington.	Complaint logged but not investigated.	2
	11:55
	5326	08/02/2000 	Karori Stream discoloured white.  Karori, 	Possible source traced to painting contractors.  	35
	14:45	Wellington.	Unable to confirm.
	5358	08/02/2000 	Illegal works in an un-named tributary of the	Under Investigation.  Works complied with rules 	50
	15:40	Hutt River. Heretaunga, Upper Hutt.	in Regional Plan.
	5327	08/02/2000 	Unpleasant sewage odour. Kingston, 	No offensive or objectionable odour detected at 	28
	20:44	Wellington.	time of investigation.
	5328	08/02/2000 	Unpleasant landfill odour. Island Bay, 	No offensive or objectionable odour detected at 	11
	21:01	Wellington.	time of investigation.
	5329	08/02/2000 	Unpleasant sewage odour, Island Bay, 	No offensive or objectionable odour detected at 	10
	21:02	Wellington.	the time of investigation.
	5335	08/02/2000 	Unpleasant odour from nearby abattoir.  	No offensive or objectionable odour detected at 	50
	21:12	Rangoon Heights, Wellington.	time of investigation.  Source confirmed.
	5334	08/02/2000 	Unpleasant odour from nearby abattoir.  	No offensive or objectionable odour detected at 	50
	21:12	Rangoon Heights, Wellington.	time of investigation.  Source confirmed.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5336	08/02/2000 	Unpleasant odour from nearby abattoir.  	No offensive or objectionable odour detected at 	50
	21:12	Rangoon Heights, Wellington.	time of investigation.  Source confirmed.
	5333	08/02/2000 	Unpleasant odour from nearby abattoir.  	No offensive or objectionable odour detected at 	50
	21:12	Rangoon Heights, Wellington.	time of investigation.  Source confirmed.
	5330	08/02/2000 	Unpleasant tip odour. Happy Valley, Wellington.	No offensive or objectionable odour detected at 	2
	21:36	the time of investigation.
	5332	08/02/2000 	Unpleasant landfill odour. Happy Valley, 	No offensive or objectionable odour detected at 	45
	22:00	Wellington.	time of investigation.
	5338	09/02/2000 	Really bad landfill odour, Happy Valley, 	Objectionable and offensive landfill odour 	1
	13:34	Wellington.	detected during investigation.
	5339	09/02/2000 	Landfill and sewage odour, Happy Valley, 	Complaint not received until investigation for a 	10
	15:50	Wellington.	similar complaint completed.
	5360	09/02/2000 	Karori Stream is white. Karori, Wellington.	Under Investigation.  Unable to trace source of 	11
	19:14	pollution.
	5359	09/02/2000 	Karori Stream is white. Karori, Wellington.	Under Investigation.  Unable to trace source of 	20
	20:50	pollution.
	5434	10/02/2000 	Abattoir odour. Really smelly.  Maldive street, 	Under Investigation.  Complaint referred to 	3
	15:41	Khandallah.	Consents Management for further investigation.
	5361	10/02/2000 	Unpleasant odour from nearby abattoir. 	Under Investigation.  No offensive or 	20
	17:30	Khandallah, Wellington.	objectionable odour confirmed at time of 
	investigation.  Source confirmed as nearby 
	abattoir.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5366	10/02/2000 	Unpleasant odour from nearby abattoir. 	Under Investigation.  No offensive or 	20
	17:30	Khandallah, Wellington.	objectionable odour confirmed at time of 
	investigation.  Source confirmed as nearby 
	abattoir.
	5362	10/02/2000 	Smoke from neighbours fire is a nuisance. 	Passed to Wellington City Council.	5
	17:45	Wadestown, Wellington.
	5363	10/02/2000 	Unpleasant odour from nearby abattoir. 	Under Investigation.  No offensive or 	1
	18:22	Khandallah, Wellington.	objectionable odour confirmed at time of 
	investigation.  Source confirmed as nearby 
	abattoir.
	5364	10/02/2000 	Unpleasant odour from nearby abattoir. 	Under Investigation.  No offensive or 	1
	18:22	Khandallah, Wellington.	objectionable odour confirmed at time of 
	investigation.  Source confirmed as nearby 
	abattoir.
	5365	10/02/2000 	Unpleasant odour from nearby abattoir. 	No offensive or objectionable odour confirmed 	1
	18:22	Rangoon Heights, Wellington.	at time of investigation.  Source confirmed as 
	nearby abattoir.
	5367	10/02/2000 	Unpleasant odour from nearby abattoir. 	No offensive or objectionable odour confirmed 	1
	20:00	Rangoon Heights, Wellington.	at time of investigation.  Source confirmed as 
	nearby abattoir.
	5370	10/02/2000 	Karori Stream is white. Karori, Wellington.	Under Investigation.  Unable to trace source of 	10
	20:25	pollution.
	5372	10/02/2000 	Unpleasant odour from nearby landfill. Happy 	No offensive or objectionable odour detected at 	25
	21:17	Valley, Wellington.	time of investigation.
	5371	10/02/2000 	Unpleasant odour from nearby treatment plant.  	No offensive or objectionable odour detected at 	25
	21:17	Happy Valley	time of investigation.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5373	10/02/2000 	Unpleasant odour from nearby landfill. Happy 	No offensive or objectionable odour detected at 	1
	21:57	Valley, Wellington.	time of investigation.
	5374	10/02/2000 	Rotting meat odour coming out of stormwater 	Under Investigation     No odour detected at time	38
	21:57	drain on Toops site. Khandallah, Wellington.	of investigation.
	5368	10/02/2000 	Unpleasant odour from nearby abattoir. 	No offensive or objectionable odour confirmed 	26
	22:09	Rangoon Heights, Wellington.	at time of investigation.  Source confirmed as 
	nearby abattoir.
	5369	10/02/2000 	Unpleasant odour from nearby abbatoir.	No offensive or objectionable odour confirmed 	0
	22:50	Rangoon Heights, Wellington.	at time of investigation.  Source confirmed as 
	nearby abattoir.
	5340	11/02/2000 	Plastic odour. Lyall Bay, Wellington.	No objectionable or offensive odour at the time 	23
	10:10	of investigation.
	5341	11/02/2000 	Unpleasant sewage odour. Happy Valley, 	Odour not present at the time. Complainant 	2
	11:10	Wellington.	asked to call when odour present.
	5342	11/02/2000 	Smoke from resin mould burning causing	The discharge of products from burning the resin	50
	11:20	nausea.  Ava, Lower Hutt.	is restricted under the Air Plan, and thus 
	requires a resource consent.
	5343	11/02/2000 	Burning odour. Rangoon Heights, Wellington.	There was no objectionable, offensive, noxious 	31
	16:41	or dangerous odour detected at the time of 
	investigation.
	5376	13/02/2000 	Unpleasant odour from nearby animal remedies 	No offensive or objectionable odour detected at 	35
	20:20	factory.  Wallaceville, Upper Hutt.	time of investigation.
	5375	13/02/2000 	Unpleasant odour from nearby animal remedies 	Complaint logged only.	10
	22:40	factory.  Wallaceville, Upper Hutt.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5396	14/02/2000 	Cooking chicken odour in garden courtyard.	Odour not considered offensive at time of 	23
	12:05	investigation due to commercial environs.  
	Further investigation required.
	5356	14/02/2000 	Sewage odour noted, Lyall Bay Wellington.	Odour due to rotting seaweed from Lyall Bay 	51
	12:05	beach.  WCC notified ( as they are responsible 
	for beach grooming of Lyall bay beach).
	5410	14/02/2000 	Chlorinated water from a swimming pool 	Investigation handled by the Porirua City 	25
	14:35	discharged into the stormwater system which 	Council.  People responsible for the discharge 
	links out into the Pauatahanui Inlet, Camborne.	asked to discharge chlorinated water into the 
	sewerage system.
	5412	14/02/2000 	Offal  discharging from off the back of the truck 	Complainant indicated that the incident had 	5
	15:25	and onto the road, Brooklyn.	occurred about 1 week ago.  Complainant asked 
	to call the WRC if they noted the discharge 
	occurring again.  Complaint logged.
	5400	14/02/2000 	Water based paint discharging from stormwater.  	Discharge of white paint could not be traced.  	26
	17:00	Clyde Quay, Wellington Harbour.	Wellington City Council unable to locate 
	stormwater manholes.
	5413	15/02/2000 	Possible illegal stream diversion. Te Horo.	Water flow impeded by low rainfall in the area at 	1440
	08:50	the time.  Farm drain therefore flowing low.  A 
	diversion in the stream was also apparently 
	diverting all of the remaining flow into another 
	side drain.
	5417	15/02/2000 	Sewerage odour coming from a 	Odour evident when a southerly wind is present. 	209
	09:50	saltmarsh/estuary, Makara.	Odour coming from rotting material around the 
	high tide margins of the estuary.  Sewerage not 
	evident in the area at the time.

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5357	15/02/2000 	Diesel spill on Bowen Street between The 	New Zealand Fire Service, Wellington City 	1
	10:00	Terrace and Lambton Quay. Wellington Central.	Council Dangerous Goods Inspector, and 
	Wellington Regional Council Harbours 
	Department notified.
	5418	15/02/2000 	Unknown household discharging washed paint 	WCC cityworks notified.  Street cleaners to clear 	1534
	11:16	brush material into the stormwater system.	out the sump which contains white discoloured 
	sediment.
	5419	16/02/2000 	Report of two  diesel spills.  One at the	Source of diesel spill unknown. No diesel evident	25
	09:50	Pembroke end of Northland Road, Northland.	at the Hawkestone/Tinakori intersection. Diesel 
	The other, corner of Hawkestone/Tinakori roads.	noted along the entire length of Northland Road, 
	isolated patches. WCC Steetworks Department 
	removing emulsified diesel from sumps and road 
	where necessary.  Harbours Department notified.
	5421	16/02/2000 	Stinking fish odour coming from a nearby 	Complaint passed to Consents Management.	10
	10:20	processing plant in Gracefield.
	5423	16/02/2000 	Sheep shed wool odour in one of the 	Odour coming from newly laid carpet.  Officer 	195
	11:45	complainants apartments, Vivian street, 	suggested that the complainant put pot pourri in 
	Wellington.	the apartment to help deodorise the sheep wool
	odour.
	5401	16/02/2000 	Blue smoke from medical waste incinerator, 	Smoke not considered offensive at time of 	27
	18:10	Miramar.	investigation.
	5402	16/02/2000 	Offensive odour from nearby food premises, 	Odour not considered offensive at time of 	10
	19:06	Cuba Street, Wellington.	investigation.  Further monitoring required.
	5403	16/02/2000 	Rancid, rotting meat smell from abattoir.	No odour detected at time of investigation.	27
	21:00

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5443	17/02/2000 	Foul odour from industrial premises. Seaview, 	Odour confirmed.  Suspected industrial premise 	56
	10:44	Lower Hutt.	confirmed as the source, satisfied consent holder
	doing undertaking all practicable steps to 
	prevent odour.
	5445	17/02/2000 	Foul odour from industrial premises. Seaview, 	Odour confirmed.  Suspected industrial premise 	50
	10:50	Lower Hutt.	confirmed as the source, satisfied consent holder
	doing undertaking all practicable steps to 
	prevent odour.
	5446	17/02/2000 	Foul odour from industrial premises. Seaview, 	Odour confirmed.  Suspected industrial premise 	42
	10:58	Lower Hutt.	confirmed as the source, satisfied consent holder
	doing undertaking all practicable steps to 
	prevent odour.
	5435	17/02/2000 	Very bad odour from a nearby animal vaccine 	Odour source confirmed as being animal vaccine 	1
	10:58	plant, Upper Hutt.	plant, Upper Hutt.  No offensive or objectionable
	odour detected at time of investigation.
	5414	17/02/2000 	Rubbish thrown from window of Wellington 	Officer involved reprimanded.  Fruit scraps only 	1260
	18:00	Regional Council vehicle.  Petone.	thrown.
	5453	18/02/2000 	Smoke discharging from nearby food premises.	Complainant details received from the WCC.  	20
	09:40	WRC to investigate.  Complainant asked to call 
	the WRC if the odours/smoke became offensive, 
	objectionable.
	5427	18/02/2000 	Unpleasant sewage odour. Lyall Bay, 	Complaint logged only.	1
	16:05	Wellington.
	5428	18/02/2000 	Unpleasant odour from nearby foundry.  Lyall 	Under Investigation.  Complaint logged only at 	1
	16:15	Bay, Wellington.	complainants request.
	5426	18/02/2000 	Temporary sewage discharge, Seatoun Heights.	Notification logged.	5550
	19:00

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5384	19/02/2000 	Foul odour from industrial premise. Seaview, 	Complaint passed to Consents Management.	1
	09:20	Lower Hutt.
	5386	19/02/2000 	Smoke discharging from a stack, John street, 	Under Investigation.	2989
	15:00	Wellington Central.
	5405	19/02/2000 	Discharge of smoke from industrial incinerator, 	Large amount of smoke observed.  Medical 	27
	16:17	Miramar, Wellington.	Waste staff contacted to adjust operations.
	5406	20/02/2000 	Odour from incinerator. Shelly Bay, Wellington.	Objectionable odour.  Unable to confirm source.	26
	11:34
	5429	21/02/2000 	Unpleasant odour from nearby forge.  Lyall Bay, 	Under Investigation.	20
	14:10	Wellington.
	5424	21/02/2000 	Objectionable odour. Maupuia, Wellington.	Did not detect any objectionable, offensive, 	37
	22:53	noxious or dangerous odour at the time of 
	investigation.
	5431	22/02/2000 	Paint spilled in gutter on Brougham Street. Mt 	Under Investigation.  Wellington City Council 	30
	12:15	Victoria, Wellington.	had placed MOP product over paint to soak it 
	up.
	5430	22/02/2000 	Paint spilled in gutter on Brougham Street. Mt 	Under Investigation.  Wellington City Council 	30
	12:15	Victoria, Wellington.	had placed MOP product over paint to soak it 
	up.
	5436	22/02/2000 	Sewage odour. Strathmore Park, Wellington.	Odour not present when complainant contacted. 	6
	22:15	Complainant to phone again when the odour is 
	present.
	5442	23/02/2000 	Brown scum on water, Karaka Bay, Wellington.	No scum observed at time of investigation.	40
	09:20

	Complaint 	Date Time	Complaint Details	Summary		First Response 
	Number		(mins)
	5437	23/02/2000 	Unpleasant odour from nearby animal remedies 	Objectionable odour confirmed as coming from 	35
	19:10	factory.  Wallaceville, Upper Hutt.	the animal remedies factory.
	5438	23/02/2000 	Unpleasant odour from nearby abattoir.	There was no objectionable, offensive, noxious 	52
	20:40	Rangoon Heights, Wellington.	or dangerous odour detected at the time of 
	investigation.
	5439	23/02/2000 	Unpleasant odour from nearby abattoir.	There was no objectionable, offensive, noxious 	52
	20:40	Rangoon Heights, Wellington.	or dangerous odour detected at the time of 
	investigation.
	5444	24/02/2000 	Metal wash from culvert causing problems on 	Under Investigation.	75
	09:30	road. Waitohu Valley, Otaki.
	5497	24/02/2000 	Ship discharging effluent over the side into 	Ship identified and explanation for discharge 	7
	14:02	Wellington Harbour.  Wellington.	obtained.
	5501	24/02/2000 	Unpleasant odour. Lyall Bay, Wellington.	Complaint logged only.	13
	14:35
	5500	24/02/2000 	Burning electrical smell, Lyall Bay, Wellington.	Complaint logged at complainants request.	0
	14:40